**Proposal of a design code for seismic isolation of buildings in Colombia**

**DOI 10.37153/2686-7974-2019-16-535-546**

Francisco LÓPEZ ALMANSA[[1]](#footnote-1), Carlos Mario PISCAL ARÉVALO[[2]](#footnote-2)

**ABSTRACT**

The current seismic design Colombian code (NSR-10) indicates that isolated buildings shall be designed according to USA documents (mainly ASCE 7). Such regulations are fitted to the particular US conditions, not being completely applicable to foreign countries. Therefore, using unreflexively foreign regulations in Colombia might generate technical inconsistencies and economic overruns, thus impairing the promotion of seismic isolation. Moreover, apparently, the last two versions of ASCE 7 (2010 and 2016) differ significantly, although the final results are rather similar. On the other side, the Damping Modification Factors for the US cannot be considered in other countries, given that are strongly dependent on the local seismicity. Finally, the US regulations are apparently oriented to essential buildings, being excessively demanding for ordinary use; conversely, in Colombia, base isolation might be also useful for non-essential constructions. Given the above considerations, a draft proposal of a Colombian design code is under development. This work discusses and compares the most recent two versions of the American regulation ASCE 7 (2010 and 2016), identifies disagreements with the Colombian (NSR-10) regulation, and proposes criteria for analysis and design of buildings with seismic isolation in Colombia.

*Keywords: Base isolation; buildings; design code; Colombia; Damping Modification Factor*

**1. INTRODUCTION**

The seismic (base) isolation of buildings consists of incorporating, between the foundation (substructure) and the main structure (superstructure), a number of devices (isolator units) that are highly flexible in both horizontal directions, but are rigid and resistant in vertical direction [Molinares 2011]. The objective is to uncouple partially the structure from the foundation soil in order to reduce the seismic demand in terms of ground-transmitted force and, thus, to mitigate the damage in the building. This effect is mainly achieved through the ensuing large elongation in the building fundamental period; furthermore, since the building motion is basically rigid-body (i.e. most of the deformation is concentrated in the isolation layer while the superstructure does not relevant drift), it is feasible to add additional damping to further reduce the seismic forces. In other words, the incorporation of base isolation is equivalent to adding a new story (ground level); therefore, a new eigenmode arises. This mode is characterized by having long period (thus becoming the first one), holding an extremely high participation factor, and being shaped almost rigid-body (i.e. without relevant drift in the superstructure.

Figure 1 displays a building with base isolation. Figure 1 shows that the isolators are placed at the ground level (they constitute the isolation layer) and that a gap must be left around the building to allow relative movements with respect to the foundation.

|  |
| --- |
| superstructure  seismic gap  substructure  isolation units |
| Figure 1. Building with seismic (base) isolation |

Nowadays, base isolation is a well consolidated technique, having been incorporated into the most relevant worldwide design codes. The works [Piscal A., López Almansa 2017c; Piscal A. 2018c] present a comparison between the major regulations. Moreover, actual buildings with base isolation have performed satisfactorily under severe earthquakes; this has been verified in countries such as Chile [Almazán 2012], Japan [EERI 2012], China [EERI 2013] and USA [Nagarajaiah, Sun 1996], among others.

In Colombia, a growing interest for seismic isolation of hospital buildings has recently arisen [Piscal A., López Almansa 2017a; 2017b]; as a result of this interest, starting 2011, approximately 30 buildings [Mason 2015] have been designed and built using this seismic protection technology. As Colombia does not have any specific regulation for base isolation, the Colombian seismic design code [NSR-10 2010] recommends using American documents such as [FEMA 450 2004; ASCE 7-10 2010; ASCE 7-16 2016]. The main objective of this study is to discuss the applicability of the new document [ASCE 7-16 2016] to Colombia, mainly compared to the previous one [ASCE 7-10 2010], and to propose criteria to be used in a forthcoming base isolation code for Colombia. The references [Piscal A., López Almansa 2018b, 2019a, 2019b] present previous studies regarding this issue.

**2. Comparison between the prescriptions of ASCE 7-10 and ASCE 7-16 for isolated buildings**

***2.1 General remarks***

As announced in the Introduction, this section presents a detailed comparison between the prescriptions of Chapter 17 of the two most recent versions of the American regulation [ASCE 7-10 2010; ASCE 7-16 2016]. There are important changes between both documents [Mayes 2014] that could generate some controversy in their possible application to Colombia. Next subsections contain specific comparisons for the most relevant issues: Components crossing the isolation layer, Expected seismic performance, Design return period for superstructure and substructure, Required classification (ordinary, intermediate, special), Importance, Drift limits, Building irregularities, Redundancy factor, Methodologies for structural analysis and design, Distribution of forces among stories, Variation of isolation devices parameters, Design displacements estimation, and Minimum design forces and displacements.

***2.2 Components crossing the isolation layer***

[ASCE 7-16 2016] states that the dynamic response of this type of elements (both structural and non-structural) must be rigorously determined to guarantee, wherever necessary, that long-term deformations do not affect their functioning. This need was not specified in [ASCE 7-10 2010].

The affected elements are the supplies (water, gas, electricity, internet, telephony, etc.), evacuations (sewage and rainwater, basically) and the provisional locking system for wind forces. As for the vertical communication elements passing through the isolation layer, only manual ladders are allowed, since elevators and escalators are not able of absorbing without damage the large generated displacements.

***2.3 Expected seismic performance***

Table 1 describes the required performance for fixed-base (fb) and base-isolated (ba) buildings [ASCE 7-10 2010; ASCE 7-16 2016]. Table 1 refers to buildings with group use IV [NSR-10 2010]; they correspond to essential facilities according to the American documents.

Table 1. Expected performance in [ASCE 7-16 2016] for isolated and fixed-base essential buildings

|  |  |  |  |
| --- | --- | --- | --- |
| **Performance** | **Seismic event** | | |
| **Frequent** | **Moderate** | **Strong** |
| **Life safety** (neither life losses nor serious injures) | fb, ba | fb, ba | fb, ba |
| **Structural damage** (no significant structural damage) | fb, ba | fb, ba | ba |
| **Non-structural damage** (neither significant structural nor non-structural damage) | fb, ba | ba | ba |

In Table 1, frequent, moderate and strong events correspond to return periods 72, 475 and 2475 years, respectively.

Table 2 presents results similar to those in Table , although in a more understandable way.

Table 2. Expected performance in [ASCE 7-16 2016] for isolated and fixed-base buildings with use group IV

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Seism** | **Performance level** | | | |
| **Operational (FO)** | **Immediate Occupancy (IO)** | **Life Safety (LS)** | **Collapse Prevention (CP)** |
| **Frequent** |  |  | Inadequate Performance | |
| **Moderate** |  | Isolated building  Fixed-base building |  |  |
| **Strong** |  |  |  |  |

Table 1 and Table 2 show that, according to the American documents, the expected performance level in fixed-base buildings depends on the considered earthquake and the building use; conversely, all the base-isolated buildings must have at least operational performance (FO) level for the strongest earthquake. In fact, [ASCE 7-16 2016] prescribes only the isolated building performance for the strongest earthquake; Table 2 contains the authors interpretation.

***2.4 Design return period for superstructure and substructure***

One of the major novelties in [ASCE 7-16 2016] is the consideration of a design earthquake with 2475 years return period for superstructure and substructure. It is noteworthy that the previous version [ASCE 7-10 2010] specified, for such purpose, 475 years return period. As evidenced in Table 2, it is expected that the performance of base-isolated buildings (regardless of their use) be better than that of fixed-base essential buildings; therefore, the same design earthquake should be used in both cases.

Table 3 displays the performance of fixed-base buildings with use groups I and IV.

Table 3. Expected performance in [ASCE 7-16 2016] for fixed-base buildings with use groups I and IV

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Seism** | **Performance level** | | | |
| **Operational (FO)** | **Immediate Occupancy (IO)** | **Life Safety (LS)** | **Collapse Prevention (CP)** |
| **Frequent** |  |  | Inadequate Performance  Use group I | |
| **Moderate** |  | Use group IV |  |  |
| **Strong** |  |  |  |  |

Table 3 shows that the performance of fixed-base buildings depends on the design earthquake and the building use. If the performance level is stated as Life Safety (as specified in most of international regulations), for a building with use group I this performance corresponds to moderate earthquake (*T*R = 475 years), while for buildings of use group IV it corresponds to strong earthquake (*T*R = 2475 years). In Colombia this last earthquake has been considered by multiplying the design earthquake (475 years) by 1.5 (as stated by ASCE). [ASCE 7-10 2010] considered 475 years return period, but the effect of the strong earthquake was indirectly considered via other safety factors. Thus, both versions of ASCE 7 cannot be mixed.

***2.5 Required classification (ordinary, intermediate, special)***

[ASCE 7-16 2016] considers that an isolated structure must have the same level of energy dissipation capacity (i.e. ordinary, intermediate or special) than a fixed-base one. Nonetheless, there is an exception, [ASCE 7-16 2016] allows ordinary concentrically braced steel frames (even the connections) in intermediate and high seismic hazard areas. However, a number of conditions must be fulfilled: building height less or equal to 48.4 m, *R* = 1, and the maximum total displacement (*D*TM) need to be multiplied by 1.2. This prescription seems to indicate that further versions might allow for designing base-isolated buildings as ordinary ones; this can encourage the use of base isolation.

***2.6 Importance***

[ASCE 7-16 2016] states that, regardless of the building use, the importance factor for isolated buildings must be always equal to 1. This is equivalent to consider the same return period.

***2.7 Drift limits***

The drift limit for base-isolated buildings is stated as 1.5% of the floor height(*h*sx); this bound is stricter than the one for fixed-base buildings and corresponds roughly to Immediate Occupation (IO). This controverts Table 1 and Table 2, where operational performance (FO) is indicated; however, it seems to be more consistent with the level of demand that could be requested to base-isolated buildings.

***2.8 Building irregularities***

The consideration of irregularities in [ASCE 7-16 2016] and [NSR-10 2010] is different; thus, this issue must be managed with care.

If a given structure is considered as irregular, it conditions the analysis method, and might involve a penalty (either in terms of the seismic design category or the *R*0 factor). In [ASCE 7-16 2016] the number of irregularities in base-isolated buildings differs from those in fixed-base buildings, since smaller impact on the structural behavior is expected [De Stefano, Pintucchi 2008; Doudoumis 2005]. Additionally, some irregularities can be even suppressed with an adequate distribution of rigidities in the isolation layer.

The irregularities in seismically isolated buildings according to [ASCE 7-16 2016] are:

* **In height**. 1aA, 1bA and 5aA, 5bA related to variation of rigidity and resistance of the mezzanines, respectively.
* **In plant**. 1bP related to extreme torsional irregularity.

***2.9 Redundancy factor***

Structural redundancy is synonym of hyperstaticity. In fixed-base buildings, ductility and redundancy provide safety against collapse and excessive damage [Tena et al. 2016]; accordingly, non-redundant structures are penalized. In base-isolated buildings, near elastic behavior is expected; therefore, [ASCE 7-16 2016] states that the redundancy factor applies only for irregular structures.

***2.10 Methodologies for structural analysis and design***

The strategies for analysis and structural design are basically the same than in fixed-base buildings: Equivalent Lateral Force Analysis (ELF, equivalent static analysis taking a single mode), Response Spectral Analysis (RSA, equivalent static analysis taking several modes), and Response History Analysis (RHA, nonlinear time-history analysis). These strategies can be selected following the recommendations in Table 4.

Table 4. Analysis and design methods in [ASCE 7-16 2016] for base-isolated buildings

|  |  |  |  |
| --- | --- | --- | --- |
| **Conditions (site, configuration or isolation)** | **ELF** | **RSA** | **RHA** |
| Soft soil (E or F) | NO | NO | YES |
| Flexible superstructure | NO | NO | YES |
| Irregular superstructure | NO | NO | YES |
| Superstructure with nonlinear behavior | NO | NO | YES |
| Superstructure with more than 4 stories\*, *h* > 19.8 m\*, *T*M > 5 s | NO | NO | YES |
| *T*M ≤ 3 *T* | NO | YES | YES |
| βM > 30% (equivalent damping factor) | NO | NO | YES |
| Isolation system with high nonlinearity or non-fulfilling 17.4-1(7) [ASCE 7-16 201] | NO | YES | YES |

\* These bounds can be stricter if there is uplift in the isolation units

In Table 4, *h* is the building height, *T* is the fundamental period of the building under fixed-base conditions, and *T*M and βM are the fundamental period and the damping ratio of the isolated building for the maximum displacement, respectively.

Table 4 shows that [ASCE 7-16 2016] reduces the requirements for the ELF method, but, on the contrary, increases the conditions for the RSA. This is because performing multimode analyses when higher modes have only little participation does not make much sense.

***2.11 Distribution of forces among stories***

[ASCE 7-10 2010] and [ASCE 7-16 2016] consider different force distributions for each level; in certain cases, the distribution specified in the most recent document implies greater demands for the superstructure and the isolator units, given that the resultant is located in a higher position. This new distribution has been adopted after [Ryan, York 2007]. Additionally, this methodology solves the inconsistency in the distribution of [ASCE 7-10 2010] when there are heavy mezzanines located just slightly above the isolation layer.

***2.12 Variation of isolation devices parameters***

[ASCE 7-10 2010] states the importance of the variation of the devices properties, but does not specify any methodology to consider such issue. [ASCE 7-16 2016] incorporates a series of factors (λ) to estimate the maximum and minimum isolators parameters (basically, stiffness and damping) depending on age, environmental conditions, manufacturing conditions, etc. The range between the minimum and maximum values is highly wide; this is because the provided values must cover many different devices. For that reason, it is indicated that, when more specific information is available (commonly, provided by the manufacturer), it should be used instead.

***2.13 Design displacements estimation***

In [ASCE 7-10 2010] the design displacements of the isolators are estimated after an effective period that is referred to the minimum properties of the isolators, and an effective damping that correspond to the maximum ones; this approach can be interpreted as inconsistent and providing high displacements. [ASCE 7-16 2016] selects the most critical case between the minimum and maximum properties. This indicates again that both versions of ASCE are not compatible.

***2.14 Minimum design forces and displacements***

In [ASCE 7-16 2016], when the forces and displacements are estimated by nonlinear dynamic analysis, minimum values referring to ELF apply. Table 5 displays a summary of these conditions.

Table 5. Minimum design forces and displacements in [ASCE 7-16 2016]

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Property** | **Substructure** | | **Superstructure** | |
| **ASCE 7-10** | **ASCE 7-16** | **ASCE 7-10** | **ASCE 7-16** |
| Force | 90% *V*b | 90% *V*b | 80/100% *V*s reg./irreg. (RSA) 60/80% *V*s reg./irreg. (RHA) | 100% *V*s (RSA)  17.5.4.3 (RHA) |
| Displacement | 90% *D*TD  80% *D*TM | 80% *D*TM | **-** | **-** |

In Table 5, *V*b and *V*srepresent the design base shear for the substructure (and the isolation layer), and the superstructure, respectively. *D*TD and *D*TM are the total displacement for the design and maximum earthquakes, respectively.

**3. RELEVANT INCONSISTENCIES BETWEEN ASCE 7 AND NSR-10**

This section discusses the differences between the American and Colombian documents that are relevant to seismic isolation. Two relevant issues are identified: the design response spectrum, and the damping modification factor of the spectral ordinates.

***3.1 Design spectrum***

The design spectra of ASCE and NSR-10 stem from completely different formulations. NSR considers uniform-hazard spectra that correspond to 475 years return period, and are generated after the zero-period spectral ordinate for the bedrock layer (PGA, termed as *A*a and *A*v). ASCE utilizes instead uniform-risk spectra for 2475 years. However, this difference is not as important, given that ASCE considers two seismicity levels: *M* (maximum, 2475 years) and *D* (design, 475 years); the conversion factor between them is 1.5. Conversely, the most relevant dissimilarity is that the American spectra are generated after the ordinates for short period (0.2 s, *S*s) and 1 s (*S*1); they are intended to quantify the demand in the constant acceleration (plateau) and constant velocity branches of the spectrum. This strategy requires that actually 0.2 and 1 s belong to such ranges, respectively; certainly, this is not the case in Colombia (and in other Latin-American countries), since in soft soil conditions, frequently 1 s lies in the plateau. For instance, this happens in the microzonations of Bogotá [Decreto 523 2010] and of Cali [Decreto 158 2014], in many areas with soft soil (“Lacustre” 50 through 500 in Bogotá, and “Piedemonte”, “Abanico de Meléndez y Lili” and “Llanura Aluvial” in Cali). Noticeably, the first seismically isolated building in Colombia (“Clínica Amiga de Comfandi”) is located in the “Abanico de Meléndez y Lili” zone of Cali.

Another relevant distinction is that in the American documents the corner period between the constant velocity and constant displacement branches (*T*L) is virtually never used, given that it ranges between 4 and 16 s. Conversely, in Colombia such period is significantly lower, being frequently smaller than the common target periods for seismically isolated buildings; e.g. in cities as Villavicencio, Manizales and Pasto, for soil B, *T*L = 2.4 s.

These considerations are relevant to the design codes, given that the Equivalent Lateral Forces method is derived after the above assumptions.

***3.2 Damping modification factor***

[ASCE 7-10 2010; ASCE 7-16 2016] proposes a spectrum modification factor (*B*) that depends on the damping ratio (β). Obviously, this factor has been derived after US records, thus not been applicable to other regions. The need of conducting particular studies is evident.

**4. DAMPING MODIFICATION FACTOR**

***4.1 Introductory remarks***

As discussed in the Introduction, in base-isolated buildings, the first mode damping is commonly higher than the ordinary reference value (5%), reaching up to 30% (and more). Therefore, to take profit of the beneficial effect of this damping, the spectral ordinates need to be reduced. The American regulations [ASCE 7-10 2010; ASCE 7-16 2016] propose reduction coefficients, but they cannot be applied to countries other than the USA, given that such coefficients have been derived after US registers (subsection 3.2). Particularly, in Latin America (and, even more specifically, in Colombia), soft soil conditions are more frequent and, thus, the registers exhibit different characteristics (subsection 3.1). Given these considerations, studies have been undertaken for Chile [Sáez et al. 2012], Perú [Mendo et al. 2017] and Colombia [Piscal A., López Almansa 2018a]. This section presents a summary of the study for Colombia.

***4.2 Description of the study***

Given the rather moderate seismicity of Colombia and the limitations and recentness of the seismological network, the available natural severe inputs are scarce. On the other hand, there is not enough information for selecting international records representing the Colombian hazard, such as moment magnitude and hypocentral distance. As well, it is not possible to find records that can be scaled to the design spectra for the full range of periods. Therefore, for each zone and soil type, groups of seven artificial accelerograms fitting the design spectra for 5% damping are generated. The results obtained with these artificial inputs are compared with those for some available historical accelerograms recorded in Colombia. The sensitivity of the calculated modification factors to the soil type, period and seismic zone is investigated, and matching expressions are generated; such equations are intended to be incorporated into the Colombian regulations. These expressions are compared with previous researches and with the prescriptions of major worldwide design codes; a reasonable fit is observed. Finally, a verification example on a hospital building with seismic isolation and located in Cali (Colombia) is presented and discussed. This example further endorses the proposed approach, since their results are satisfactorily compared with those using the historical records that were employed in the seismic microzonation of Cali.

This work considers two modification factors (termed as *B*a and *B*d) intended to multiply the corresponding 5% damping design spectrum; *B*a and *B*d are generated from acceleration and displacement (or pseudo-acceleration) response spectra, respectively:

|  |  |  |
| --- | --- | --- |
|  |  | (1) |

In equations (1), ζ represents the damping ratio. *B*afactor is meant to be used for *S*a(acceleration) spectra, thus reporting on non-structural damage. Regarding *B*dfactor, is meant for both *S*d(displacement) and *PS*a (pseudo-acceleration) spectra, thus reporting on structural damage.

Colombia is divided in 10 seismic zones (1-10) and five soil types are considered (A-E). Table 6 displays the average proposed expressions in terms of the damping ratio.

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 6. Coefficients of the derived expressions for *B*d and *B*a for damping ratio higher than 5% | | | | | | | | | |
| **Damping ratio** |  | | |  | | | | | |
| ***T* ≤0.04 s** | | **0.04 s *< T* ≤0.5 s** | | **0.5 s < *T* ≤4 s** | |
| ***a*** | ***b*** | ***c*** | ***d*** | ***e*** | ***d*** | ***e*** | ***d*** | ***e*** |
| 0.50 | 1.249 | 0.3683 | 0.9200 | 1.000 | − 10.70 | 0.5873 | − 0.3778 | 0.3184 | 0.1679 |
| 0.45 | 1.211 | 0.3683 | 0.9200 | 1.000 | − 10.27 | 0.6047 | − 0.3880 | 0.3368 | 0.1524 |
| 0.40 | 1.166 | 0.3683 | 0.9200 | 1.000 | − 9.79 | 0.6241 | − 0.3996 | 0.3585 | 0.1368 |
| 0.35 | 1.112 | 0.3683 | 0.9200 | 1.000 | − 9.25 | 0.6461 | − 0.3991 | 0.3849 | 0.1213 |
| 0.30 | 1.045 | 0.3683 | 0.9200 | 1.000 | − 8,61 | 0.6716 | − 0.3954 | 0.4178 | 0.1058 |
| 0.25 | 0.9603 | 0.3683 | 0.9200 | 1.000 | − 7.84 | 0.7016 | − 0.3846 | 0.4604 | 0.0903 |
| 0.20 | 0.8487 | 0.3683 | 0.9200 | 1.000 | − 6.90 | 0.7385 | − 0.3597 | 0.5184 | 0.0747 |
| 0.15 | 0.6912 | 0.3683 | 0.9200 | 1.000 | − 5.65 | 0.7859 | − 0.3027 | 0.6041 | 0.0592 |
| 0.10 | 0.4493 | 0.3683 | 0.9200 | 1.000 | − 3.86 | 0.8528 | − 0.1788 | 0.7496 | 0.0437 |

**5. Proposal for the colombian design code for isolated buildings**

***5.1 Seismic performance***

The performance shall increase one level compared to the fixed-base case: LS becomes IO, and CP turns into LS.

***5.2 Design input***

For the sub and the superstructure, it is proposed to consider the same design input return period than for fixed-base buildings. Regarding the isolation layer, 2475 years is proposed in any case.

***5.3 Importance factor***

It is proposed to maintain the same importance factor than for fixed-base buildings. The objective is that seismic isolation provides a uniform increment of protection regardless of the building use.

***5.4 Damping modification factor***

The strategy described in section 3 is considered.

***5.5 ELF method***

As discussed previously, [ASCE 7-10 2010; ASCE 7-16 2016] assume that 1 s period lies always in the descending branch (constant velocity) of the design spectrum. Conversely, in Colombia soft soil is highly common; thus, in many occasions, such period lies in the constant acceleration branch (plateau). Therefore, equations 17.5-1 and 17.5-3 [ASCE 7-10 2010] and 17.5-1 [ASCE 7-16 2016] cannot be applied to Colombia in all the situations; the following more general expression is proposed instead:

|  |  |
| --- | --- |
|  | (2) |

Regarding the response modification factor (*R*), it is recommended do not exceed 2, as in [ASCE 7-16 2016].

***5.6 Design requirements (Ordinary, Intermediate, Special)***

[ASCE 7-10 2010; ASCE 7-16 2016] prescribe that an isolated building must have the same structural design level (Ordinary, Intermediate, Special) than a fixed-base one that corresponds to the same seismic design category. This strategy is not considered completely coherent with the philosophy of base isolation, given that a better seismic performance is expected and, thus, less energy dissipation capacity of the superstructure is required. Therefore, the proposal for the Colombian code is that special and intermediate fixed-base buildings convert into intermediate and ordinary isolated ones, respectively; regarding ordinary fixed-base buildings, should become ordinary isolated ones. Noticeably, the recently developed current Chilean code [NCh 2745 2013] contains similar prescriptions.

***5.7 Drift limits***

In most of building structures, drift angles corresponding to IO (Immediate Occupancy) range between 0.5% and 0.8% [VISION 2000 1995; Aslani 2005; Ghobarah 2004]. Thus, for seismically isolated buildings, a drift limit of 0.7% is proposed.

**6. APPLICATION EXAMPLE**

This section describes the seismic design of a 4-story RC frame building founded on soil B and located in Bucaramanga (Colombia); this city belongs to a high seismicity zone with *A*a = *A*v = 0.25, *F*a = *F*v = 1. Because of the requirements of the Colombian design code, special frame is considered. The building seismic weight is 2800 kN for both fixed-base and isolated conditions; this involves a certain simplification, given that base isolation might allow designing a lighter superstructure.

The isolation system consists of X0.3R HDRBs (High Damping Rubber Bearings) [Bridgestone 2013]. Table 7 describes the percentages of variation of their mechanical parameters with the temperature, age and production conditions.

Table 7. Variation of the properties of the Rubber Bearings (%)

|  |  |  |
| --- | --- | --- |
| **Issue** | **Stiffness** | **Damping** |
| Production | ± 10 |  |
| Age | +10 | +10 |
| Temperature (20° ± 20°) | +14/**−**9 | +5/**−**9 |
| **Total** | **+34/−19** | **+1/−15** |

After the variations shown in Table 7, Table 8 displays the selected stiffness, damping and period values. These parameters correspond to 475 years return period.

Table 8. Selected parameters for the isolation system

|  |  |  |  |
| --- | --- | --- | --- |
| **Level** | **Stiffness (kN/mm)** | **Damping (%)** | **Period (s)** |
| Minimum | 1.314 | 17 | 2.90 |
| Nominal | 1.546 | 20 | 2.70 |
| Maximum | 2.072 | 20.2 | 2.33 |

According to the Colombian regulations [NSR-10 2010], two uses are considered: use group I (Risk Category I, the lowest one) and use group IV (Risk Category IV, the highest one, essential facilities). Table 9 displays the design parameters for both uses; *R* is the response modification factor, *I* is the importance factor, *D*M is the maximum displacement, and *V*s is the design base shear.

Table 9. Design parameters for ordinary / essential buildings

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Parameter** | **Fixed-base building** | **Isolated building** | | |
| **ASCE 7-10 2010** | **ASCE 7-16 2016** | **Proposed** |
| *R* | 7 / 7 | 2 / 2 | 2 / 2 | 2 / 2 |
| *I* | 1 / 1.5 | 1 / 1 | 1 / 1 | 1 / 1.5 |
| *D*M (m) | - / - | 0.155 / 0.155 | 0.218 / 0.218 | 0.123 / 0.191 |
| *V*s (kN) | 250 / 375 | 161 / 161 | 173 / 173 | 124 / 166 |

Table 9 shows that, for group I buildings, the proposed elastic design base shear is clearly below those in both versions of ASCE 7. Conversely, for group IV buildings, the return period is 2475 years, and, the proposed elastic design base shear lies in between those in the 2010 and 2016 versions of ASCE 7. These considerations seem to indicate that ASCE does not encourage the seismic isolation of non-essential buildings.

**7. Conclusions**

This work compares the prescriptions of [ASCE 7-10 2010] and [ASCE 7-16 2016] for buildings with seismic isolation. It is concluded that both documents are quite different, and, thus, their prescriptions cannot be combined. As well, relevant inconsistencies with [NSR-10 2010] and the Colombian situation are found; mainly, the American documents do not discriminate the base isolated buildings based on their importance, they assume that 1 s period lies in the constant velocity branch of the spectrum. Regarding the first issue, the requirements for non-essential buildings might be over-conservative, does not fostering their seismic isolation. On the second issue, some expressions are modified, and a study for the Damping Modification Factor that is specific for Colombia has been conducted.

Given that ASCE 7 cannot be directly applied to Colombia, a draft proposal of seismic regulation for base isolated buildings is presented.

**8. Acknowledgments**

This work has obtained financial support from Spanish Government, projects MEC BIA2017 88814 R and CGL2015-6591 and has received funds from the European Union (FEDER). The stay of C. Piscal in Barcelona was funded by Colciencias (Colombian government), call 617, and by the University of La Salle. These supports are recognized with gratitude.

**9. References**

Almazán J. (2012) Comportamiento de estructuras antisísmicas durante el terremoto del Maule y su posible efecto en las normas de diseño sísmico en Chile. *Revista Sul-americana de Engenharia Estrutural*, **7**(2-3):4–28.

ASCE 7–16 (2016) Minimum design loads and associated criteria for buildings and other structures, *American Society of Civil Engineers*.

ASCE/SEI 7–10 (2010) Minimum design loads for buildings and other structures, *American Society of Civil Engineers*.

Aslani H. (2005) Probabilistic earthquake loss estimation and loss disaggregation in buildings. PhD Thesis, Stanford University.

Bridgestone Corporation. (2013) Seismic isolation product line-up. *Construction Materials Sales & Marketing Department*.

Cheng F, Jiang, Lou K. (2008) Smart structures: innovative systems for seismic response control. *USA: CRC Press*.

De Stefano M, Pintucchi B. (2008) A review of research on seismic behavior of irregular building structures since 2002. *Bulletin of Earthquake Engineering*, **6**(2):285–308.

Decreto 523. (2010) Microzonificación sísmica de Bogotá. *Alcaldía mayor de Bogotá*, (in Spanish).

Decreto 158. (2014). Microzonificación *sísmica de Santiago de Cali*. Santiago de Cali, (in Spanish).

Doudoumis I. (2005) Effects of vertical irregularities on the seismic behavior of multi-story buildings with base isolation, *4th European Workshop on Irregular and Complex Structures* Thessaloniki, Greece.

Earthquake Engineering Research Institute (EERI) (2012) Performance of Engineered Structures in the Mw 9.0 Tohoku, Japan, Earthquake of March 11, 2011, *EERI Special Earthquake Report*.

Earthquake Engineering Research Institute (EERI) (2013) The Mw 6.6 Earthquake of April 20, 2013 in Lushan, China, *EERI Special Earthquake Report*.

FEMA 450. (2004) Recommended Provisions for Seismic Regulations for New Buildings and Other Structures. *Federal Emergency Management Agency*.

Ghobarah A. (2004) On drift limits associated with different damage levels. *International Workshop on Performance-Based Seismic Design Concepts and Implementation* Bled, Slovenia.

Mason W. (2015) Seismic Isolation – The Gold Standard of Seismic Protection, *STRUCTURE magazine*.

Mayes R. (2014) The Next Generation of Codes for Seismic Isolation in the United States and Regulatory Barriers to Seismic Isolation Development, *Tenth U.S. National Conference on Earthquake Engineering*, Anchorage, Alaska.

Mendo A, Fernandez-Dávila VI. (2017). Bases for standard of analysis and design of base isolation system for buildings in Peru. *16th World Conference on Earthquake Engineering* (16WCEE), Santiago de Chile.

Molinares Amaya N. (2011) Sistemas de control pasivos y activos de aislamiento de base para edificios sometidos a acciones sísmicas. *Revista Científica Ingeniería y Desarrollo*. **14**(14):60–92.

Nagarajaiah S, Sun X. (1996) Seismic performance of base isolated buildings in the 1994 Northridge earthquake, *11th World Conference on Earthquake Engineering* (11WCEE). Acapulco, Mexico.

NCh 2745. (2013). Análisis y diseño de edificios con aislación sísmica. Asociación Chilena de Sismología e Ingeniería Sísmica. Instituto Nacional de Normalización.

NSR-10. (2010) Reglamento Colombiano de Construcción Sismo Resistente, *Asociación Colombiana de Ingeniería Sísmica*.

Piscal A. CM, López Almansa F. (2017a) New design approach for base-isolation of essential sanitary facilities in high-seismicity zones of Colombia. *16th World Conference on Earthquake Engineering* (16WCEE). Santiago, Chile.

Piscal A. CM, López Almansa F. (2017b) Computational tool for rubber bearing design for building seismic isolation (in Spanish). *VIII Congreso Nacional de Ingeniería Sísmica*. Barranquilla, Colombia.

Piscal A. CM, López Almansa F. (2017c) Comparison among worldwide seismic isolation codes. Inferences for Colombia (in Spanish). *VIII Congreso Nacional de Ingeniería Sísmica*. Barranquilla, Colombia.

Piscal A. CM, López Almansa F. (2018a) Generating damping modification factors after artificial inputs in scenarios of local records scarcity. *Bulletin of Earthquake Engineering*. **16**(11):5371–5396.

Piscal A. CM, López Almansa F. (2018b) Propuesta para la futura de norma de aislamiento sísmico de edificaciones en Colombia. *DYNA*. **85**(207):306–315.

Piscal A. CM, López Almansa F. (2019a) Comparación de las dos metodologías de análisis y diseño más recientes de ASCE 7, para el análisis de su posible empleo en edificaciones con aislamiento sísmico de base en Colombia. *Ingeniería y Desarrollo*. **37**(1).

Piscal A. CM, López Almansa F. (2019b) Aplicabilidad del código ASCE 7-16 para el diseño de edificaciones con aislamiento sísmico en Colombia. *Achisina 2019*. Valdivia, Chile.

Piscal A. CM. (2018c) Basis for the proposal of Colombian design code for buildings protected with base isolation or energy dissipators. *Doctoral Dissertation*. Technical University of Catalonia.

Ryan KL, York K. (2007) Vertical Distribution of Seismic Forces for Simplified Design of Base-Isolated Buildings, *Structures Congress*. Long Beach, California.

Sáez A, Moroni MO, Sarrazin M. (2012) Contributions to the Chilean Code for Seismic Design of Buildings with Energy Dissipation Devices. *15th World Conference on Earthquake Engineering* (15WCEE), Lisbon.

Tena A, Cortés J, Godínez E. (2016) Impacto de la redundancia estructural en el comportamiento sísmico de estructuras de concreto reforzado. *Alternativas*, **17**(3):180–197.

VISION 2000 (1995) Performance-based seismic engineering of buildings, *Structural Engineers Association of California*.

**LIST OF ACRONYMS**

CP: Collapse Prevention

ELF: Equivalent Lateral Force

FO: Fully Occupational

IO: Immediate Occupancy

LS: Life Safety

RHA: Response History Analysis

RSA: Response Spectrum Analysis

1. Technical University of Catalonia, Barcelona, Spain, [francesc.lopez-almansa@upc.edu](mailto:francesc.lopez-almansa@upc.edu) [↑](#footnote-ref-1)
2. University of La Salle, Bogotá, Colombia, [cpiscal@unisalle.edu.co](mailto:cpiscal@unisalle.edu.co%20)  [↑](#footnote-ref-2)